## Overview
CHEAR Targeted Data Template Overview: to be used exclusively for Analyte results reported in the LONG format
All data should be input in multiple record ("long") format such that each analyte has metadata associated with it
A separate template can be used for each analyte panel, e.g. phenols, phthalates.
The run template should be used (see example tab) to enter data/metadata on a run-by-run basis, and the Data Template (see example tabs) should be used to enter measurements by sample and analyte
In all cases, including measured values below LOD, report instrument derived values (with blank subtraction, if warranted)
Instructions for use:
Please read the "Description of Fields" tab for clear instructions on how data are to be input for each column.
RUN TEMPLATE: Should be used (see example tab) to report data/metadata on a run-by-run basis
DATA TEMPLATE:
Should be used (see example tab) to report measurements on a sample and analyte basis (one row represent a measurement of a single analyte for a single sample)
Measurements reported in a row can be one of the following: original sample concentration, repeated sample concentration, or QC sample concentration
Data are reported in multiple record ("long") format such that each analyte has its own row with associated metadata (LOD, units of concentration, comment)
The column "Analysis Mode" is used to indicate what type of data are reported in each row.
A separate Data Template can be used for each Analyte Panel, e.g. blood metals, urine metals, tissue, etc, but it is not required
EXAMPLES: Provide a visual representation of how the Run and Data Template should appear when filled in with reported results
Reports submitted to the CHEAR Data Center should only include:
Run Template
Data Template (separate Template can be used for each Analyte Panel)
Analyte Codes
Comment Codes | note: this instruction amended 4/25/2019
Reports submitted to the CHEAR Data Center should not include the follow tabs:
Overview (this tab)
Description of Fields
Run Example
Data Example_Phthalates
Reports submitted to the CHEAR Data Center should not include the follow tabs:
Overview (this tab)
Description of Fields
Run Example
Data Example_Metals
Comment Code

## Description of fields
CHEAR Targeted Data Template Description of Fields: to be used exclusively for Analyte results reported in the LONG format
RUN TEMPLATE
| Column Header | Description
| CHEAR Project ID | CHEAR CC issued unique project ID
| Analysis Panel | Unique descriptor (see Analyte Code Tab) designating the analyte panel being assayed
| LAB ID | The Standard CHEAR Lab ID, indicating the lab that is conducting the analysis
T1: Emory
T2: Michigan
T3: Minnesota
T4: Mount Sinai
T5: RTI
T6: Wadsworth
| Assigned Date | The date when an analysis was assigned to a lab by CC
| Run ID | A unique ID that a Lab uses to identify a run. An analysis may need more than one run.
| Analytic Methods | A code designating the procedural template followed by the laboratory in the measurement of these samples
| Run Start Date Time* | Date-Time stamp: the date when analysis started: MMDDYYYY and the time when analysis started: HH:MM (24 hour clock)
| Run End Date Time* | Date-Time stamp: the date when analysis completed: MMDDYYYY and and the time when analysis completed: HH:MM (24 hour clock)
Run Notes
| Instrument | Vendor and model
| Instrument SN | Manufacturer's serial number for the instrument
| Sample Preparation Start Date Time* | Date-Time stamp: The date when the sample preparation started: MMDDYYYY and the time sample preparation started HH:MM (24 hour clock)
| Sample Preparation End Date Time* | Date-Time stamp: The date when the sample preparation completed: MMDDYYYY and the time sample preparation completed HH:MM (24 hour clock)
| Sample Preparation Notes | Deviations from the SOP, observations
| Sample Prepared By | Name or ID of the person who prepared the sample
| Data Review Date | The date when data review was completed
| Result File | Full path of results file name - Lab Hub local file storage location
| Result File Format | Format of the results file
| Result Submission Date | Date when the data is submitted to CHEAR DC
| Result Submitter | The CHEAR DC login ID of the submitter
| Analysis Panel Dictionary File Name | The corresponding data dictionary file name for this analysis panel
| Calibration File | Full path of calibration file name - Lab Hub local file storage location of the proprietary file or collection of proprietary files created by the ICP-MS instrumentation software for each analytical run.
*NOTE: If all dates (run start/run end/sample prep start/sample prep end) are the same, then only one date needs to be entered; all remaining blank dates will be assumed to be the same as the one entered date
DATA TEMPLATE
| Column Header | Description
| Analysis Mode | This variable describes the type of values reported in the data template. Please use the following labels according to their definitions
SAMPLE: if the row contains concentrations from the study sample
QC: If the row contains quality control data
REPEAT: if the row contains data for a repeat of the study sample
| SID | For Study Samples (original or repeats): CHEAR unique identifier for a study biological sample, issued by the DC For QC samples: ID provided by Lab Hub
| Run ID | A unique ID that a Lab uses to identify a run. An analysis may need more than one run. | NOTE: This Run ID must correspond to a row entered in the Run Template
| Replicate Number | An index number used to indicate whether the value in the record should be interpretated as a final/best measurement value or if the value is one in a series of measurements that should be averaged per analyte and sample. Enter: 0 - for final/best value 1,2,3, etc - for a measurement value that is one in a series of repeated measurements that should be averaged per analyte and sample
| LH Accession No | A unique ID (accession number) assigned by the testing Lab Hub to identify each new sample received for analysis
| Sample Matrix | Classification of the sample matrix, e.g. urine, serum, cord blood. CHEAR CC, DC, and Lab will use a list of common types
| Analyte Code | Unique ANALYTE CODE representing analyte concentration reported in "Concentration" column (e.g., MEHP, MEP, COT, etc.; see tab: Analyte Codes)
| Concentration | Measured concentration of the analyte. Note: include measured values below LOD, report instrument derived values (with blank subtraction, if warranted)
| LOD | Typical LOD value expected for the method used for the analysis
| Required Units | Common units of measured concentration, e.g, ng/mL
| Comment Code | This column will contain the code corresponding to the issues or occuences associated with each sample for the specific measurment of the analyte (for codes, see tab: Comment Code)
ANALYTE CODE
| Column Header | Description
| Full Panel Name | Full name of the analysis panel
| Analysis Panel | Code to indicate the analysis panel: sample matrix, the analysis, and the grouping of the analyses, for example:
UPEST: Alkyl phosphate pesticide metabolites
UEP: Environmental Phenols
| Full Analyte Name | Full name of the analyte
| Analyte Code | Abbreviation to be used in the Data Template as the column header for the measured concentration

## Run Template
CHEAR Project ID | Analysis Panel | Lab ID | Assigned Date | Analytic Methods | Run ID | Run Start Date Time | Run End Date Time | Run Notes | Instrument | Instrument SN | Sample Preparation Start Date | Sample Preparation End Date | Sample Preparation Notes | Sample Prepared By | Data Review Date | Result File | Result File Format | Result Submission Date | Result Submitter | Data Dictionary File Name | Calibaration File

## Run Example
CHEAR Project ID | Analysis Panel | Lab ID | Assigned Date | Analytic Methods | Run ID | Run Start Date Time | Run End Date Time | Run Notes | Instrument | Instrument SN | Sample Preparation Start Date | Sample Preparation End Tate | Sample Preparation Notes | Sample Prepared By | Data Review Date | Result File | Result File Format | Result Submission Date | Result Submitter | Data Dictionary File Name | Calibaration File
Pilot-001 | UPHTH | T1 | 2016-01-01 | PTHAL_em2 | EM-01072016a | 2016-01-07 13:00 | 2016-01-07 18:00 | smooth run | Agilent 7010 Triple Quadrupole GC/MS | GCMS201617 | 2016-01-07 10:00 | 2016-01-07 10:30 | all sample looks normal | technicial 1 | 2016-01-07 20:00 | N:\desktop\CHEAR\Pilot_0001\EM-01072016a.xlsx | Excel | 2016-01-08 | Lab manager 1 | N:\desktop\CHEAR\Pilot_0001\EM-OC-DD.xlsx | N:\desktop\CHEAR\Pilot_0001\20160107-Cal.xlsx
Pilot-001 | UPHTH | T1 | 2016-01-01 | PTHAL_em2 | EM-01072016b | 2016-01-08 06:00 | 2016-01-08 18:00 | Room temprature slitely higher than normal | Agilent 7010 Triple Quadrupole GC/MS | GCMS201617 | 2016-01-07 10:00 | 2016-01-07 10:30 | all sample looks normal | technicial 1 | 2016-01-07 20:00 | N:\desktop\CHEAR\Pilot_0001\EM-01072016b.xlsx | Excel | 2016-01-08 | Lab manager 1 | N:\desktop\CHEAR\Pilot_0001\EM-OC-DD.xlsx | N:\desktop\CHEAR\Pilot_0001\20160107-Cal.xlsx

## Data Template
Analysis Mode | SID | Run ID | Replicate Number | LH Accession No | Sample Matrix | Analyte Code | Concentration | Units | LOD | Comment Code

## Data Example_Phthalates
Analysis Mode | SID | Run ID | Replicate Number | LH Accession No | Sample Matrix | Analyte Code | Concentration | Units | LOD | Comment Code
SAMPLE | C-WHT29-UR | 01072016a | 0 | 2016XXXXXX | Urine | MEP | 0.022564 | ng/mL | 0.1 | 37
SAMPLE | C-WHT29-UR | 01072016a | 0 | 2016XXXXXX | Urine | MBP | 0.32113 | ng/mL | 0.1 | 0
SAMPLE | C-WHT29-UR | 01072016a | 0 | 2016XXXXXX | Urine | MIBP | 0.13214 | ng/mL | 0.1 | 0
SAMPLE | C-WHT30-UR | 01072016b | 0 | 2016XXXXXX | Urine | MIBP | 0.63121 | ng/mL | 0.1 | 0
SAMPLE | C-WHT30-UR | 01072016b | 0 | 2016XXXXXX | Urine | MCPP | 0.65465 | ng/mL | 0.1 | 0
SAMPLE | C-WHT30-UR | 01072016b | 0 | 2016XXXXXX | Urine | MCPP | 0.73422 | ng/mL | 0.1 | 0
QC | QC Low start | 01072016a | 0 | 2016XXXXXX | Urine
QC | QC Low middle | 01072016a | 0 | 2016XXXXXX | Urine
QC | QC Low End | 01072016a | 0 | 2016XXXXXX | Urine
QC | QC Med 1 start | 01072016a | 0 | 2016XXXXXX | Urine
QC | QC Med 1 middle | 01072016a | 0 | 2016XXXXXX | Urine
QC | QC Med 1 End | 01072016a | 0 | 2016XXXXXX | Urine
QC | QC Med 2 start | 01072016a | 0 | 2016XXXXXX | Urine
QC | QC Med 2 middle | 01072016a | 0 | 2016XXXXXX | Urine
QC | QC Med 2 End | 01072016a | 0 | 2016XXXXXX | Urine
QC | QC Hi start | 01072016a | 0 | 2016XXXXXX | Urine
QC | QC Hi middle | 01072016a | 0 | 2016XXXXXX | Urine
QC | QC Hi End | 01072016a | 0 | 2016XXXXXX | Urine

## Analyte Codes
Full Panel Name | Analysis Panel | Full Analyte Name | AnalyteCode | CAS # | Required Units
Alkyl phosphate pesticide metabolites | UPEST | diethyldithiophosphate | DEDP | 298-06-6 | ng/mL
Alkyl phosphate pesticide metabolites | UPEST | diethylphosphate | DEP | 598-02-7 | ng/mL
Alkyl phosphate pesticide metabolites | UPEST | diethylthiophosphate | DETP | 5871-17-0 | ng/mL
Alkyl phosphate pesticide metabolites | UPEST | dimethyldithiophosphate | DMDP | 756-80-9 | ng/mL
Alkyl phosphate pesticide metabolites | UPEST | dimethylphosphate | DMP | 813-78-5 | ng/mL
Alkyl phosphate pesticide metabolites | UPEST | dimethylthiophosphate | DMTP | 59401-04-6 | ng/mL
Alkyl phosphate pesticide metabolites | UPEST | 3-phenoxybenzoic acid | PBA | 3739-38-6 | ng/mL
Alkyl phosphate pesticide metabolites | UPEST | 3,5,6-trichloro-2-pyridinol | TCP | 6515-38-4 | ng/mL
Alkyl phosphate pesticide metabolites | UPEST | 6-chloronicotinic acid | CINA6 | 5326-23-8 | ng/mL
Alkyl phosphate pesticide metabolites | UPEST | 4-nitrophenol | PNP | 100-02-7 | ng/mL
Blood Metals - core set | BM1 | Arsenic | As | 7440-38-2 | ng/mL
Blood Metals - core set | BM1 | Cadmium | Cd | 7440-43-9 | ng/mL
Blood Metals - core set | BM1 | Cobalt | Co | 7440-48-4 | ng/mL
Blood Metals - core set | BM1 | Chromium | Cr | 7440-47-3 | ng/mL
Blood Metals - core set | BM1 | Copper | Cu | 7440-50-8 | ng/mL
Blood Metals - core set | BM1 | Mercury | Hg | 7439-97-6 | ng/mL
Blood Metals - core set | BM1 | Magnesium | Mg | 7439-95-4 | ng/mL
Blood Metals - core set | BM1 | Manganese | Mn | 7439-96-5 | ng/mL
Blood Metals - core set | BM1 | Nickel | Ni | 7440-02-0 | ng/mL
Blood Metals - core set | BM1 | Lead | Pb | 7439-92-1 | µg/dL
Blood Metals - core set | BM1 | Selenium | Se | 7782-49-2 | ng/mL
Blood Metals - core set | BM1 | Tin | Sn | 7440-31-5 | ng/mL
Blood Metals - core set | BM1 | Zinc | Zn | 7440-66-6 | ng/mL
Blood Metals - Cs and Sb | BM2 | Cesium | Cs | 7440-46-2 | ng/mL
Blood Metals - Cs and Sb | BM2 | Antimony | Sb | 7440-36-0 | ng/mL
Creatinine | UDILUTE | Creatinine | CRE | 60-27-5 | mg/dL
Environmental Phenols | UEP | Benzophenone-1 | BP1 | 131-56-6 | ng/mL
Environmental Phenols | UEP | 2,2',4,4'-tetrahydroxybenzophenone | BP2 | 131-55-5 | ng/mL
Environmental Phenols | UEP | Benzophenone-3 | BP3 | 131-57-7 | ng/mL
Environmental Phenols | UEP | 2,2'-dihydroxy-methoxybenzophenone | BP8 | 131-53-3 | ng/mL
Environmental Phenols | UEP | Bisphenol A | BPA | 80-05-7 | ng/mL
Environmental Phenols | UEP | 4,4'-(1-phenylethylidene)bisphenol | BPAP | 1571-75-1 | ng/mL
Environmental Phenols | UEP | 2,2'-bis(4-hydroxyphenyl)butane | BPB | 77-40-7 | ng/mL
Environmental Phenols | UEP | Bisphenol F | BPF | 620-92-8 | ng/mL
Environmental Phenols | UEP | Bisphenol S | BPS | 80-09-1 | ng/mL
Environmental Phenols | UEP | 4,4′-(1,4-Phenylenediisopropylidene)bisphenol | BPP | 2167-51-3 | ng/mL
Environmental Phenols | UEP | 4,4'-cyclo-hexylidenebisphenol | BPZ | 843-55-0 | ng/mL
Environmental Phenols | UEP | 4,4'-(hexafluoroisopropylidene)-dephenol | BPAF | 1478-61-1 | ng/mL
Environmental Phenols | UEP | 2,4-Dichlorophenol | DCP24 | 120-83-2 | ng/mL
Environmental Phenols | UEP | 2,5-Dichlorophenol | DCP25 | 583-78-8 | ng/mL
Environmental Phenols | UEP | 3,4-Dihydroxy benzoic acid | DHB34 | 99-50-3 | ng/mL
Environmental Phenols | UEP | 4-Hydroxybenzoic acid | HB4 | 99-96-7 | ng/mL
Environmental Phenols | UEP | 2-Chlorophenol | MCP2 | 95-57-8 | ng/mL
Environmental Phenols | UEP | 3-Chlorophenol | MCP3 | 108-43-0 | ng/mL
Environmental Phenols | UEP | 4-Chlorophenol | MCP4 | 106-48-9 | ng/mL
Environmental Phenols | UEP | 4-hydroxybenzophenone | OH4BP | 1137-42-4 | ng/mL
Environmental Phenols | UEP | Protocatechuic acid ethyl ester | OHETP | 3943-89-3 | ng/mL
Environmental Phenols | UEP | 3,4-Dihydroxy-benzoic acid methyl ester | OHMEP | 2150-43-8 | ng/mL
Environmental Phenols | UEP | Oxybenzone (phenyl 13C6, 99%) 100 ug/mL in Acetonitrile | OXB |  | ng/mL
Environmental Phenols | UEP | Pentachlorophenol | PCP | 87-86-5 | ng/mL
Environmental Phenols | UEP | Triclocarban | TCC | 101-20-2 | ng/mL
Environmental Phenols | UEP | 2,4,5-Trichlorophenol | TCP245 | 95-95-4 | ng/mL
Environmental Phenols | UEP | 2,4,6-Trichlorophenol | TCP246 | 88-06-2 | ng/mL
Environmental Phenols | UEP | Triclosan | TCS | 3380-34-5 | ng/mL
Environmental Phenols | UEP | 2,3,4,5-Tetrachlorophenol | TECP2345 | 4901-51-3 | ng/mL
Environmental Phenols | UEP | 2,3,4,6-Tetrachlorophenol | TECP2346 | 58-90-2 | ng/mL
Environmental Phenols | UEP | 2,3,5,6-Tetrachlorophenol | TECP2356 | 935-95-5 | ng/mL
Environmental Phenols | UEP | 2,4,5,6-Tetrachlorophenol | TECP2456 |  | ng/mL
Fatty Acids | PFACID | C14:0 | C140 | 544-63-8 | µmol/L
Fatty Acids | PFACID | C16:0 | C160 | 57-10-3 | µmol/L
Fatty Acids | PFACID | C16:1n7 | C161N7 | 373-49-9 | µmol/L
Fatty Acids | PFACID | C18:0 | C180 | 57-11-4 | µmol/L
Fatty Acids | PFACID | C18:1n7 | C181N7 | 506-17-2 | µmol/L
Fatty Acids | PFACID | C18:1n9 | C181N9 | 112-80-1 | µmol/L
Fatty Acids | PFACID | C18:2n6 | C182N6 | 60-33-3 | µmol/L
Fatty Acids | PFACID | C18:3n3 | C183N3 | 463-40-1 | µmol/L
Fatty Acids | PFACID | C18:3n6 | C183N6 | 506-26-3 | µmol/L
Fatty Acids | PFACID | C20:3n6 | C203N6 | 1783-84-2 | µmol/L
Fatty Acids | PFACID | C20:4n6 | C204N6 | 506-32-1 | µmol/L
Fatty Acids | PFACID | C20:5n3 | C205N3 | 10417-94-4 | µmol/L
Fatty Acids | PFACID | C22:0 | C220 | 112-85-6 | µmol/L
Fatty Acids | PFACID | C22:4n6 | C224N6 | 122068-08-0 | µmol/L
Fatty Acids | PFACID | C22:5n3 | C225N3 | 24880-45-3 | µmol/L
Fatty Acids | PFACID | C22:6n3 | C226N3 | 6217-54-5 | µmol/L
Fatty Acids | PFACID | C24:0 | C240 | 557-59-5 | µmol/L
Fatty Acids | PFACID | C24:1n9 | C241N9 | 506-37-6 | µmol/L
Organochlorine Pesticides | SOC | alpha-hexachlorocyclohexane | AHCH | 319-84-6 | ng/mL
Organochlorine Pesticides | SOC | beta-hexachlorocyclohexane | BHCH | 319-85-7 | ng/mL
Organochlorine Pesticides | SOC | Cis-Chlordane | CCHL | 5103-71-9 | ng/mL
Organochlorine Pesticides | SOC | Cis-Nonachlor | CNON | 5103-73-1 | ng/mL
Organochlorine Pesticides | SOC | gamma-hexachlorocyclohexane | GHCH | 58-89-9 | ng/mL
Organochlorine Pesticides | SOC | Hexachlorobenzene | HCB | 118-74-1 | ng/mL
Organochlorine Pesticides | SOC | Mirex | MIREX | 2385-85-5 | ng/mL
Organochlorine Pesticides | SOC | 2,4'-DDT | OPDDT | 789-02-6 | ng/mL
Organochlorine Pesticides | SOC | 4,4'-DDE | PPDDE | 72-55-9 | ng/mL
Organochlorine Pesticides | SOC | 4,4'-DDT | PPDDT | 50-29-3 | ng/mL
Organochlorine Pesticides | SOC | Trans-Chlordane | TCHL | 5103-74-2 | ng/mL
Organochlorine Pesticides | SOC | Trans-Nonachlor | TNON | 39765-80-5 | ng/mL
PAHs | UPAH | 1-hydroxybenz[a]anthacene | BAA1 | 69847-26-3 | ng/L
PAHs | UPAH | Benzo[a]pyrene tetraol | BAPT |  | ng/L
PAHs | UPAH | 1-hydroxybenzo[c]-phenanthrene | BCP1 |  | ng/L
PAHs | UPAH | 2-hydroxybenzo[c]-phenanthrene | BCP2 |  | ng/L
PAHs | UPAH | 3-hydroxybenzo[c]-phenanthrene | BCP3 |  | ng/L
PAHs | UPAH | 1-hydroxychrysene | CHRY1 | 63019-38-5 | ng/L
PAHs | UPAH | 2-hydroxychrysene | CHRY2 | 65945-06-4 | ng/L
PAHs | UPAH | 3-hydroxychrysene | CHRY3 | 63019-39-6 | ng/L
PAHs | UPAH | 4-hydroxychrysene | CHRY4 | 63019-40-9 | ng/L
PAHs | UPAH | 6-hydroxychrysene | CHRY6 | 37515-51-8 | ng/L
PAHs | UPAH | 2-hydroxyfluorene | FLUO2 | 2443-58-5 | ng/L
PAHs | UPAH | 3-hydroxyfluorene | FLUO3 | 6344-67-8 | ng/L
PAHs | UPAH | 9-hydroxyfluorene | FLUO9 | 1689-64-1 | ng/L
PAHs | UPAH | 1-hydroxynaphthalene | NAP1 | 90-15-3 | ng/L
PAHs | UPAH | 2-hydroxynaphthalene | NAP2 | 135-19-3 | ng/L
PAHs | UPAH | 1-hydroxyphenanthrene | PHEN1 | 2433-56-9 | ng/L
PAHs | UPAH | 2-hydroxyphenanthrene | PHEN2 | 605-55-0 | ng/L
PAHs | UPAH | 3-hydroxyphenanthrene | PHEN3 | 605-87-8 | ng/L
PAHs | UPAH | 2-hydroxyphenanthrene + 3-hydroxyphenanthrene | PHEN2PHEN3 |  | ng/L
PAHs | UPAH | 4-hydroxyphenanthrene | PHEN4 | 7651-86-7 | ng/L
PAHs | UPAH | 9-hydroxyphenanthrene | PHEN9 | 484-17-3 | ng/L
PAHs | UPAH | 1-hydroxypyrene | PYR1 | 5315-79-7 | ng/L
PAHs | UPAH | Phenanthrene tetrol | PHET |  | pmol/ml
Parabens | UPB | Butyl paraben | BuPB | 94-26-8 | ng/mL
Parabens | UPB | Benzyl paraben | BZPB | 94-18-8 | ng/mL
Parabens | UPB | Ethyl paraben | ETPB | 120-47-8 | ng/mL
Parabens | UPB | Heptyl paraben | HEPB | 1085-12-7 | ng/mL
Parabens | UPB | Methyl Paraben | MEPB | 99-76-3 | ng/mL
Parabens | UPB | Propyl paraben | PRPB | 94-13-3 | ng/mL
PFCs | SPFC | N-methyl Perfluorooctane sulfonamido acetic acid | NMFOSAA |  | ng/mL
PFCs | SPFC | Perfluorobutanoic acid | PFBA | 375-22-4 | ng/mL
PFCs | SPFC | Perfluorobutanesulfonic acid | PFBS | 375-73-5 | ng/mL
PFCs | SPFC | Perfluorodecanoic acid | PFDA | 335-76-2 | ng/mL
PFCs | SPFC | Perfluorooctanesulfonate | PFDODA |  | ng/mL
PFCs | SPFC | Perluoroheptanoic acid | PFHPA | 375-85-9 | ng/mL
PFCs | SPFC | Perfluorohexanoic acid | PFHXA | 307-24-4 | ng/mL
PFCs | SPFC | Perfluorohexane-1-sulphonic acid | PFHXS | 355-46-4 | ng/mL
PFCs | SPFC | Perfluorononanoic acid | PFNA | 375-95-1 | ng/mL
PFCs | SPFC | Perfluorooctanoic acid | PFOA | 335-67-1 | ng/mL
PFCs | SPFC | Perfluorooctanesulfonic acid | PFOS | 1763-23-1 | ng/mL
PFCs | SPFC | Perfluorooctanesulfonamide | PFOSA | 754-91-6 | ng/mL
PFCs | SPFC | Perfluoro-n-pentanoic acid | PFPEA | 2706-90-3 | ng/mL
PFCs | SPFC | Perfluroundecanoic acid | PFUNDA | 2058-94-8 | ng/mL
PFCs | SPFC | Ethyl Perfluorooctane sulfonamido acetic acid | NETFOSAA |  | ng/mL
Phthalates | UPHTH | mono-benzyl phthalate | MBZP | 2528-16-7 | ng/mL
Phthalates | UPHTH | mono (5-carboxy-2-ethylpentyl) phthalate (DEHP) | MCEPP |  | ng/mL
Phthalates | UPHTH | Monocyclohexyl phthalate | MCHP | 7517-36-4 | ng/mL
Phthalates | UPHTH | mono(7-carboxyheptyl)phthalate | MCHPP | 856869-57-3 | ng/mL
Phthalates | UPHTH | mono-carboxy isononyl phthalate | MCINP |  | ng/mL
Phthalates | UPHTH | mono-carboxy isooctyl phthalate | MCIOP |  | ng/mL
Phthalates | UPHTH | Mono-2-(carboxymethyl) hexyl phthalate | MCMHP | 82975-93-7 | ng/mL
Phthalates | UPHTH | mono (6-COOH-2-methylheptyl) phthalate | MCOMHP |  | ng/mL
Phthalates | UPHTH | mono (7-COOH-2-methyloctyl) phthalate | MCOMOP | 1373125-93-9 | ng/mL
Phthalates | UPHTH | mono (3-carboxypropyl) phthalate (multiple) | MCPP | 66851-46-5 | ng/mL
Phthalates | UPHTH | mono-(2-ethyl-5-carboxypentyl) phthalate | MECPP | 40809-41-4 | ng/mL
Phthalates | UPHTH | mono (2-ethyl-5-hydroxyhexyl) phthalate | MEHHP | 40321-99-1 | ng/mL
Phthalates | UPHTH | mono ethyl hexyl phthalate | MEHP | 4376-20-9 | ng/mL
Phthalates | UPHTH | mono (2-ethyl-5-oxohexyl) phthalate | MEOHP | 40321-98-0 | ng/mL
Phthalates | UPHTH | monoethyl phthalate (DEP) | MEP | 2306-33-4 | ng/mL
Phthalates | UPHTH | mono-2-heptyl phthalate | MHPP |  | ng/mL
Phthalates | UPHTH | mono-hexyl phthalate | MHXP | 24539-57-9 | ng/mL
Phthalates | UPHTH | mono-isobutyl phthalate (DiBP) | MIBP | 30833-53-5 | ng/mL
Phthalates | UPHTH | mono-isodecyl phthalate | MIDP | 31047-64-0 | ng/mL
Phthalates | UPHTH | mono-isononyl phthalate | MINP |  | ng/mL
Phthalates | UPHTH | Mono-isopropyl phthalate | MIPP | 35118-50-4 | ng/mL
Phthalates | UPHTH | mono-methyl phthalate | MMP | 4376-18-5 | ng/mL
Phthalates | UPHTH | mono-n-butylphthalate (BzBP, DnBP) | MNBP | 34-74-2 | ng/mL
Phthalates | UPHTH | Mono-n-octyl phthalate | MOP | 5393-19-1 | ng/mL
Phthalates | UPHTH | mono-pentyl phthalate | MPEP | 24539-56-8 | ng/mL
Phthalates | UPHTH | phthalic acid | PA | 88-99-3 | ng/mL
Phthalates | UPHTH | monooxoisononyl phthalate (DiNP) | MONP |  | ng/ml
Phthalates | UPHTH | Cyclohexane-1,2-dicarboxylic acid mono carboxyisooctyl ester (DINCH) | MCOCH |  | ng/ml
Phthalates | UPHTH | Cyclohexane-1,2-dicarboxylic acid mono hydroxyisononyl ester (DINCH) | MHNCH |  | ng/ml
Phthalates | UPHTH | mono-2-ethyl-5- carboxypentyl terephthalate (DEHTP) | MECPTP |  | ng/ml
Phthalates | UPHTH | mono-2-ethyl-5-hydroxyhexyl terephthalate (DEHTP) | MEHHTP |  | ng/ml
Phthalates | UPHTH | mono-(2-ethylhexyl) terephthalate | MEHTP |  | ng/ml
Phthalates | UPHTH | Mono-2-ethyl-5-oxohexylterephthalate | MEOHTP |  | ng/ml
Polybrominated diphenyl ethers | PBDE | 2,2',4,4',6-Pentabromodiphenyl ether | BDE100 | 189084-64-8 | ng/mL
Polybrominated diphenyl ethers | PBDE | 2,2',4,4',5,5'-Hexabromodiphenyl ether | BDE153 | 68631-49-2 | ng/mL
Polybrominated diphenyl ethers | PBDE | 2,2',4,4',5,6'-Hexabromodiphenyl ether | BDE154 | 207122-15-4 | ng/mL
Polybrominated diphenyl ethers | PBDE | 2,2',4'-Tribromodiphenyl ether | BDE17 | 147217-75-2 | ng/mL
Polybrominated diphenyl ethers | PBDE | 2,2',3,4,4',5',6-Heptabromodiphenyl ether | BDE183 | 207122-16-5 | ng/mL
Polybrominated diphenyl ethers | PBDE | 2,2',3,3',4,4',5,5',6,6'-Decabromodiphenyl ether | BDE209 | 1163-19-5 | ng/mL
Polybrominated diphenyl ethers | PBDE | 2,4,4'-Tribromodiphenyl ether | BDE28 | 41318-75-6 | ng/mL
Polybrominated diphenyl ethers | PBDE | 2,2',4,4'-Tetrabromodiphenyl ether | BDE47 | 5436-43-1 | ng/mL
Polybrominated diphenyl ethers | PBDE | 2,3',4,4'-Tetrabromodiphenyl ether | BDE66 | 189084-61-5 | ng/mL
Polybrominated diphenyl ethers | PBDE | 2,2',3,4,4'-Pentabromodiphenyl ether | BDE85 | 182346-21-0 | ng/mL
Polybrominated diphenyl ethers | PBDE | 2,2',4,4',5-Pentabromodiphenyl ether | BDE99 | 60348-60-9 | ng/mL
Polybrominated diphenyl ethers | PBDE | 2,2',4,4',5,5'-Hexabromobiphenyl | PBB153 | 59080-40-9 | ng/mL
Polychlorinated biphenyls | SPCB | PCB101 | PCB101 | 37680-73-2 | ng/mL
Polychlorinated biphenyls | SPCB | PCB118 | PCB118 | 31508-00-6 | ng/mL
Polychlorinated biphenyls | SPCB | PCB138 | PCB138 | 35065-28-2 | ng/mL
Polychlorinated biphenyls | SPCB | PCB153 | PCB153 | 35065-27-1 | ng/mL
Polychlorinated biphenyls | SPCB | PCB180 | PCB180 | 35065-29-3 | ng/mL
Polychlorinated biphenyls | SPCB | PCB28 | PCB28 | 7012-37-5 | ng/mL
Polychlorinated biphenyls | SPCB | PCB52 | PCB52 | 35693-99-3 | ng/mL
Specific Gravity | UDILUTE | Specific Gravity | SG |  | kg/m3
Tobacco Metabolites | USMOKE | Anatabine | ANAT | 581-49-7 | ng/mL
Tobacco Metabolites | USMOKE | Cotinine (free) | COT |  | ng/mL
Tobacco Metabolites | USMOKE | Cotinine (total) | COTT | 486-56-6 | ng/mL
Tobacco Metabolites | USMOKE | Hydroxycotinine (free) | HCOT | 34834-67-8 | ng/mL
Tobacco Metabolites | USMOKE | Hydroxycotinine (total) | HCOTT |  | ng/mL
Tobacco Metabolites | USMOKE | Mercapturic acids of 1,3-butadiene - urine | HEMA |  | ng/mL
Tobacco Metabolites | USMOKE | Nicotine (free) | NIC |  | ng/mL
Tobacco Metabolites | USMOKE | Nicotine-N-oxide - urine | NICO | 2820-55-5 | ng/mL
Tobacco Metabolites | USMOKE | Nicotine (total) | NICT | 54-11-5 | ng/mL
Tobacco Metabolites | USMOKE | 4-(methlynitrosamino)-1-(3-pyridyl)-1-butanol | NNAL | 76014-81-8 | pmol/ml
Tobacco Metabolites | USMOKE | Nornicotine | NORN | 5746-86-1 | ng/mL
Tobacco Metabolites | USMOKE | Total nicotine equivalents - urine, blood | TNIC |  | ng/mL
Urine Metals - core set | UM1 | Silver | Ag | 7440-22-4 | ng/mL
Urine Metals - core set | UM1 | Aluminum | Al | 7429-90-5 | ng/mL
Urine Metals - core set | UM1 | Arsenic | As |  | ng/mL
Urine Metals - core set | UM1 | Barium | Ba | 7440-39-3 | ng/mL
Urine Metals - core set | UM1 | Beryllium | Be | 7440-41-7 | ng/mL
Urine Metals - core set | UM1 | Bismuth | Bi | 7440-69-9 | ng/mL
Urine Metals - core set | UM1 | Cadmium | Cd |  | ng/mL
Urine Metals - core set | UM1 | Chromium | Cr |  | ng/mL
Urine Metals - core set | UM1 | Caesium | Cs |  | ng/mL
Urine Metals - core set | UM1 | Copper | Cu |  | ng/mL
Urine Metals - core set | UM1 | Mercury | Hg |  | ng/mL
Urine Metals - core set | UM1 | Iodine | I | 7553-56-2 | ng/mL
Urine Metals - core set | UM1 | Lithium | Li | 7439-93-2 | ng/mL
Urine Metals - core set | UM1 | Manganese | Mn |  | ng/mL
Urine Metals - core set | UM1 | Molybdenum | Mo | 7439-98-7 | ng/mL
Urine Metals - core set | UM1 | Nickel | Ni |  | ng/mL
Urine Metals - core set | UM1 | Lead | Pb |  | ng/mL
Urine Metals - core set | UM1 | Platinum | Pt | 7440-06-4 | ng/mL
Urine Metals - core set | UM1 | Tin | Sn |  | ng/mL
Urine Metals - core set | UM1 | Strontium | Sr | 7440-24-6 | ng/mL
Urine Metals - core set | UM1 | Tellurium | Te | 13494-80-9 | ng/mL
Urine Metals - core set | UM1 | Titanium | Ti | 7440-32-6 | ng/mL
Urine Metals - core set | UM1 | Thallium | Tl | 7440-28-0 | ng/mL
Urine Metals - core set | UM1 | Uranium | U | 7440-61-1 | ng/mL
Urine Metals - core set | UM1 | Vanadium | V | 7440-62-2 | ng/mL
Urine Metals - core set | UM1 | Tungsten | W | 7440-33-7 | ng/mL
Urine Metals - core set | UM1 | Zinc | Zn |  | ng/mL
Volatile Organic Compounds | VOCs | N-Acetyl-S-(2-carbamoylethyl)-L-cysteine | AAMA | 81690-92-8 | pmol/ml
Volatile Organic Compounds | VOCs | Mercapturic acids of acrolein and crotonaldehyde | AMA |  | pmol/ml
Volatile Organic Compounds | VOCs | N-Acetyl-S-(N-methylcarbamoyl)-L-cysteine | AMCC | 103974-29-4 | pmol/ml
Volatile Organic Compounds | VOCs | 2-Aminothiazoline-4-carboxylic acid | ATCA | 2150-55-2 | pmol/ml
Volatile Organic Compounds | VOCs | N-Acetyl-S-(benzyl)-L-cysteine | BMA |  | pmol/ml
Volatile Organic Compounds | VOCs | N-Acetyl-S-(n-propyl)-L-cysteine | BPMA |  | pmol/ml
Volatile Organic Compounds | VOCs | Benzene | BZ | 71-43-2 | pmol/ml
Volatile Organic Compounds | VOCs | N-Acetyl-S- (2-carboxyethyl)-L-cysteine | CEMA | 51868-61-2 | pmol/ml
Volatile Organic Compounds | VOCs | Chloroform | CFRM | 67-66-3 | pmol/ml
Volatile Organic Compounds | VOCs | Carbon Tetrachloride | CTET | 56-23-5 | pmol/ml
Volatile Organic Compounds | VOCs | N-Acetyl-S-(2-cyanoethyl)-L-cysteine | CYMA | 74514-75-3 | pmol/ml
Volatile Organic Compounds | VOCs | N-Acetyl-S-(1,2-dichlorovinyl)-L-cysteine | DCVMA12 | 2148-31-4 | pmol/ml
Volatile Organic Compounds | VOCs | N-Acetyl-S-(2,2-dichlorovinyl)-L-cysteine | DCVMA22 | 126543-43-9 | pmol/ml
Volatile Organic Compounds | VOCs | 1,2-Dichloroethane | DE12 | 107-06-2 | pmol/ml
Volatile Organic Compounds | VOCs | N-Acetyl-S- (3,4-dihydroxybutyl)-L-cysteine | DHBMA | 144889-50-9 | pmol/ml
Volatile Organic Compounds | VOCs | N-Acetyl-S-(2,4-dimethylphenyl)-L-cysteine + N-Acetyl-S-(2,5-dimethylphenyl)-L-cysteine + N-Acetyl-S-(3,4-dimethylphenyl)-L-cysteine | DPMA |  | pmol/ml
Volatile Organic Compounds | VOCs | Ethylbenzene | EB | 100-41-4 | pmol/ml
Volatile Organic Compounds | VOCs | N-Acetyl-S-(2-carbamoyl-2-hydroxyethyl)-L-cysteine | GAMA |  | pmol/ml
Volatile Organic Compounds | VOCs | N-Acetyl-S- (2-hydroxyethyl)-L-cysteine | HEMA2 | 15060-26-1 | pmol/ml
Volatile Organic Compounds | VOCs | N-Acetyl-S- (3-hydroxypropyl)-L-cysteine | HPMA | 23127-40-4 | pmol/ml
Volatile Organic Compounds | VOCs | N-Acetyl-S-(2-hydroxypropyl)-L-cysteine | HPMA2 |  | pmol/ml
Volatile Organic Compounds | VOCs | N-Acetyl-S-(3-hydroxypropyl-1-methyl)-L-cysteine | HPMMA |  | pmol/ml
Volatile Organic Compounds | VOCs | 3-Hydroxypropyl-1-methyl mercapturic acid + 3-Hydroxypropyl-2-methyl mercapturic acid + 3-Hydroxypropyl-3-methyl mercapturic acid | HMPMA |  | pmol/ml
Volatile Organic Compounds | VOCs | Mandelic acid | MA | 90-64-2 | pmol/ml
Volatile Organic Compounds | VOCs | 2-Methylhippuric acid | MHA2 | 42013-20-7 | pmol/ml
Volatile Organic Compounds | VOCs | 3-Methylhippuric acid + 4-Methylhippuric acid | MHA34 |  | pmol/ml
Volatile Organic Compounds | VOCs | N-Acetyl-S-(1-hydroxymethyl-2-propenyl)-L-cysteine | MHBMA1 | 144889-51-0 | pmol/ml
Volatile Organic Compounds | VOCs | N-Acetyl-S-(2-hydroxy-3-butenyl)-L-cysteine | MHBMA2 | 159092-64-5 | pmol/ml
Volatile Organic Compounds | VOCs | N-Acetyl-S-(4-hydroxy-2-buten-1-yl)-L-cysteine | MHBMA3 | 159092-65-6 | pmol/ml
Volatile Organic Compounds | VOCs | trans, trans -Muconic acid | MU | 3588-17-8 | pmol/ml
Volatile Organic Compounds | VOCs | m-Xylene | MXY | 108-38-3 | pmol/ml
Volatile Organic Compounds | VOCs | o-Xylene | OXY | 95-47-6 | pmol/ml
Volatile Organic Compounds | VOCs | Phenylglyoxylic acid | PGA | 611-73-4 | pmol/ml
Volatile Organic Compounds | VOCs | N-Acetyl-S-(1-phenyl-2-hydroxyethyl-L-cysteine + N-Acetyl-S-(2-phenyl-2-hydroxyethyl)-L-cysteine | PHEMA |  | pmol/ml
Volatile Organic Compounds | VOCs | N-Acetyl-S-(phenyl)-L-cysteine | PMA |  | pmol/ml
Volatile Organic Compounds | VOCs | p-Xylene | PXY | 106-42-3 | pmol/ml
Volatile Organic Compounds | VOCs | Mercapturic acid of benzene | SPMA |  | pmol/ml
Volatile Organic Compounds | VOCs | Styrene | STY | 100-42-5 | pmol/ml
Volatile Organic Compounds | VOCs | Tetrachloroethene | TCE | 127-18-4 | pmol/ml
Volatile Organic Compounds | VOCs | N-Acetyl-S-(trichlorovinyl)-L-cysteine | TCVMA | 111348-61-9 | pmol/ml
Volatile Organic Compounds | VOCs | Toluene | TOL | 108-88-3 | pmol/ml
Volatile Organic Compounds | VOCs | 2-Thioxothiazolidine-4-carboxylic acid | TTCA | 20933-67-9 | pmol/ml
Volatile Organic Compounds | VOCs | N-ace-S-(phenl-2-hydxyetl)-L-cys(ng/mL) | VOCPHE |  | pmol/ml
Cytokines and Other Inflammatory Markers | INFLAM | Matrix metalloproteinase 2 | MMP2 |  | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Fms-related tyrosine kinase 3 ligand | FLT3L |  | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Granulocyte macrophage Colony stimulating factor | GMCSF |  | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | HAPTOGLOBIN | HAPTOGLOBIN |  | µg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interferon gamma | IFNG | 50812-37-8 | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin 10 | IL10 | 130068-27-8 | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin12P70 | IL12P70 |  | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin13 | IL13 | 148157-34-0 | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin15 | IL15 | D019409000 | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin17A | IL17A |  | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin17E/IL25 | IL17EIL25 |  | ng/ml
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin 17F | IL17F |  | ng/ml
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin1B | IL1B |  | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin2 | IL2 | 110942-02-4 | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin21 | IL21 |  | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin22 | IL22 |  | ng/ml
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin23 | IL23 |  | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin27 | IL27 |  | ng/ml
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin28A | IL28A |  | ng/ml
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin31 | IL31 |  | ng/ml
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin33 | IL33 |  | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin4 | IL4 | 207137-56-2 | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin5 | IL5 |  | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin6 | IL6 | 308067-66-5 | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin-8 | IL8 |  | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin9 | IL9 |  | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Macrophage Inflammatory Protein-3A | MIP3A |  | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Matrix metalloproteinase 1 | MMP1 |  | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Matrix metalloproteinase 10 | MMP10 |  | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Matrix metalloproteinase 7 | MMP7 |  | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Matrix metalloproteinase 9 | MMP9 |  | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | tissue inhibitor of metalloproteinase 1 | TIMP1 |  | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | tissue inhibitor of metalloproteinase 2 | TIMP2 |  | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Tumor necrosis factor A | TNFA | 308079-78-9 | pg/ml
Cytokines and Other Inflammatory Markers | INFLAM | Tumor necrosis factor B | TNFB |  | ng/ml
Cytokines and Other Inflammatory Markers | INFLAM | C Reactive Protein | CRP |  | µg/mL

## Comment Codes
*based upon NHANES comment codes (ones most commonly used highlighted)
Code | Meaning
0 | valid measurement | * included on every valid measurement
1 | Slightly hemolyzed
2 | Moderately hemolyzed
3 | Markedly hemolyzed
4 | Icteric
5 | Turbid
6 | Very turbid
7 | Lipemic
8 | Lipemic sample, clarified before running
10 | Cellular debris present
11 | Small clot present
12 | Run out-of-contol; insufficient sample for repeat analysis | * leave concentration field blank
13 | Fibrin present
14 | Red blood cells present
15 | Interfering substances present | * used primarily when ion ratios are outside of prescribed range
16 | Urine grossly hematuric
17 | quantity of sample insufficient for analysis
18 | Quantity of sample insufficient for repeat analysis
19 | Sample integrity/quality compromised preventing analysis
29 | Sample older than 2 weeks
31 | Cyclomicrons present
32 | Dilution required
33 | Result repeated and confirmed | * if result appears different from what is expected
34 | Unusually high
35 | Unusual color
37 | Value less than LOD | * put the concentration (even if below LOD) in the concentration field also
38 | Analyzed at a later date than rest of samples on worksheet (not a repeat)
39 | Short sample; sample probe picked up incomplete volume first time
49 | thawed and clotted
50 | thawed and hemolyzed (covers all three levels)
51 | thawed, hemolyzed (covers all three levels) and exposed to light
53 | Hemolyzed (covers all three levels), lipemic, and icteric
54 | Hemolyzed (covers all three levels) and contaminated
55 | Hemolyzed (covers all three levels) and debris present
56 | Hemolyzed (covers all three levels) and lipemic
57 | Lab confirmed result
58 | did not precipitate
59 | Lipemic and turbid
62 | Sample frozen
63 | No Hct, Hct=40 assumed
73 | Panel change
78 | Failed negative control
79 | Failed positive control
82 | Partial match
84 | Greater than 99th percentile
85 | Mitest not capped
86 | Torn, perforated screen
87 | Broken Mitest
88 | Torn bag (Mitest intact, capped)
89 | Overloaded filter
90 | Abnormal hemoglobin variant observed
91 | Obvious coarse debris
92 | Predominantly fibrous material
93 | Initial concentration higher than the highest standard
94 | Specimen analyzed with less than normal quantity
95 | Specimen analyzed in singlicate for an assay that requires duplicates
96 | No FOL result; FOL = 8 ng/mL assumed
97 | Result repeated with diluted sample | * if a sample is diluted to bring within calibration range
104 | Detectable
114 | Result reported based on fewer replicates than required
115 | Specimen analyzed with less than usual dilution
122 | Samples Arrived Thawed and Analyzed
124 | HUC sample having discrepancy between fluorometer results and semi quantative Albustix test results
128 | No preservative added
129 | Irregular result, no concentration reported
130 | Value above LOD but below LLOQ
131 | Value greater than ULOQ
199 | Value below LLOQ, no LOD provided
200 | Valid measurement, results repeated and confirmed (0,33)
201 | Below LOD, results repeated and confirmed (37,33)
210 | Initial concentration higher than the highest standard, insufficient volume for repeat analysis (93, 18)